Summary for the khz ranging session.

Graz has been doing 2khz laser ranging to all satellites for two years.

Everything improves with the higher laser rates (and with a 10ps

pulsewidth): acquisition is easier,  calibration is very stable and the

RMS is better.  It even makes ranging to GPS easier - since the switch to

khz ranging, the number of Graz GPS normal points is higher and there is

not much difference between day and night.  Ranging with the High-Q laser

also provides the ability to differentiate returns from the different

satellite cubes.

Graz has developed a new PC board for khz ranging.  It is an ISA card with

a 3Ghz PC and has most of the logic required for 2khz ranging done in an

onboard FPGA.  It accepts external 1pps and 10 Mhz inputs, has complete

khz laser control, has an onboard range gate generator, and interfaces to

the hardware with a 64 bit serial interface. The prototype is operational

and the design is available to other stations upon request.

SLR2000 is ranging at 2khz with a 300 psec pulsewidth laser, but so far

has only tracked LEO satellites.  The system has demonstrated closed-loop

tracking on some satellites.  The team is currently working toward

ompletion of the automated closed-loop tracking.

Herstmonceux has a 2khz High-Q laser.  They are using it to range but

recording only every 20th return.  The full system must await the new

Event Timer and updated software which are expected to be complete by the

end of 2005.

Mt Stromlo is contemplating moving their system to khz ranging.