Control Files Session Summary

Chaired by W. Gurtner and G. Kirchner

Kalvin Salminsh gave a status report about the use and exchange of the Engineering Data Files (EDF). Currently three stations (Graz, Wettzell, Potsdam) are generating the files for their calibration data and are routinely submitting them (or will submit them in the very near future) to a central server.

Ulrich Schreiber (Wettzell), Ludwig Grunwaldt (Potsdam), and Georg Kirchner (Graz) confirmed that the initial programming time needed for the implementation is, although not negligible, well invested.

A few other stations expressed their vivid interest, but said that they currently had more pressing issues to solve first.

Werner Gurtner presented and explained a list of files having been defined by ILRS over the last years to be used to improve the overall performance of the network:

Manoeuvre predictions, Standard time bias file, Drag function file, Time bias distribution be a special server, EUROLAS status exchange, Go-Nogo file, Pass segment list, Dynamic priorities, URGENT mail. Stations were urged to include these files and procedures into their routine operation.